Repair door latch on supply area double doors.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Repair door latch on suppl |  |  |  |  |  |  |  |  |
| CSS #27783 - CMI #14864 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.23.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 1 |  |  |  |  |  | $ 80.00 |
| 1.2 Mortise Lock |  |  |  |  | $ - | $ - | $ - | $ 858.00 |
| 1.3 Misc |  |  |  |  |  |  |  | $ 450.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,388.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,388.00 |

Proposal to:

Troubleshoot – Repair &replace BEST Mortise lock.

Dormitory function means that the lock can only be locked from the inside with a thumb turn and from the outside with a key

There is a 1–4-week lead time for the lock.