Repair Condensate line behind Boilers in first floor Mechanical Room. Line has rusted/rotted apart is leaking on to floor. The condensate is leaking from mechanical room into the next room.

Proposal to:

Remove broken boiler #1&2 condensate line & replace with new CPUC & Vinyl tube.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Repair Condensate line behind Boilers |  |  |  |  |  |  |  |  |
| CSS #28398 - CMI #11484 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 3.01.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 124.00 | 5 |  |  |  |  |  | $ 620.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 132.14 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 752.14 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 124.00 | 3 |  |  |  |  |  | $ 372.00 |
| 2.2 Misc |  |  |  |  |  |  |  | $ 154.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,278.14 |