Repair Domestic Hot water heater # 2 Circulator pump. Pump is starting to make a squealing noise.

CMI Tech Mike to remove existing taco pump and replace it with a new taco pump.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Domestic Hot water heater # 2 |  |  |  |  |  |  |  |  |
| CSS #29175 - CMI #12284 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 3.12.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 2 |  |  |  |  |  | $ 160.00 |
| 1.2 Taco Pump - in stock |  |  |  | $ 491.47 | $ 34.40 | $ 525.87 | $ 105.17 | $ 631.05 |
| 1.3 Misc |  |  |  |  |  |  |  | $ 50.00 |
| 1.4 Shipping |  |  |  |  |  |  |  | $ 45.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 886.05 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 80.00 | 1 |  |  |  |  |  | $ 80.00 |
| Grand Total |  |  |  |  |  |  |  | $ 966.05 |