Repair multiple emergency lights that are not working.

Proposal to:

Remove and Replace.

The attached quote includes 8 lights, the original light are discontinued. The attached is to replace with a newer version.

1 pkg Miniature Incandescent Bulb,  T5,  Glass Wedge (W2.1x9.5d),  Lumens 101,  Watts 7.2W,  PK 10 https://yk8vw.app.goo.gl/xENaqab36CYAD6kn7

1pkg Miniature Incandescent Bulb,  T5,  Glass Wedge (W2.1x9.5d),  Lumens 151,  Watts 9W,  PK 10 https://yk8vw.app.goo.gl/F2DRdsPHY2ymr9z96

8 batteries  6V DC,  Sealed Lead Acid Battery,  10 Ah,  Faston,  3.7 in Height,  3.32 lb Weight,  1.94 in Depth https://yk8vw.app.goo.gl/nmcaHcdEdyN5ohsv7

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Repair multiple emergency lights |  |  |  |  |  |  |  |  |
| CSS #29183 - CMI #14865 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.15.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 5 |  |  |  |  |  | $ 400.00 |
| 1.2 COMBO LEDS Light 8 pieces |  |  |  | $ 575.28 | $ 40.27 | $ 615.55 | $ 123.11 | $ 738.66 |
| 1.2 Mini Incandescent Bulb 1pkg |  |  |  | $ 10.43 | $ 0.73 | $ 11.16 | $ 2.23 | $ 13.39 |
| 1.2 Mini Incandescent Bulb 1pkg |  |  |  | $ 8.28 | $ 0.58 | $ 8.86 | $ 1.77 | $ 10.63 |
| 1.2 6V DC Sealed Lead Acid battery x8 |  |  |  | $ 281.44 | $ 19.70 | $ 301.14 | $ 60.23 | $ 361.37 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,524.05 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 80.00 | 2 |  |  |  |  |  | $ 160.00 |

| Grand Total |  |  |  |  |  |  |  | $ 1,684.05 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |