Repair 4 heating valves on VAVs.

Proposal to:

- Remove the 4 broken reheat valve actuators located on VAV: 106, 112, 121 and 128.

- Replace with new reheat valve actuators

- Test operation

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Repair 4 heating valves on VAVs. |  |  |  |  |  |  |  |  |
| CSS #31088 - CMI #14917 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.15.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 124.00 | 4 |  |  |  |  |  | $ 496.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 710.00 |
| 1.3 Misc |  |  |  |  |  |  |  | $ 154.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,360.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 1,360.00 |