Replace water pressure regulator for boiler water make up

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Replace water pressure regulator |  |  |  |  |  |  |  |  |
| CSS #32215 - CMI #14863 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 10.04.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 150.00 | 4 |  |  |  |  |  | $ 600.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 125.00 |
| 1.3 Misc |  |  |  |  |  |  |  | $ 50.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 775.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 775.00 |

Proposal to:

1. Isolate expansion tank.

2. Drain pressure from tank into glycol barrel.

3. Test tank air pressure, adjust if required and bladder ok. Quote new if bladder bad.

4. Turn tank back on to system.

5. Check operation of glycol tank and pump.