Found while making repairs to wo 17207

| Service to replace LED Ballast Drivers in existing exterior perimeter lighting over entrance |  |  |  |  |
| --- | --- | --- | --- | --- |
| areas to facility. Evaluation of fixtures showed a Qty of ( 7 ) fixtures had faulty LED components |  |  |  |  |
| and are inoperable. Fixtures are located on the exterior walls of one side of the building and are on |  |  |  |  |
| on the same circuit. It appears that the whole string on light fixtures were damaged most likely due |  |  |  |  |
| to a power surge from the commercial electrical service. These fixtures are beyond reasonable |  |  |  |  |
| repair and not cost effective, replacement is required. |  |  |  |  |

Proposal to:

| Remove a Qty. of ( 7 ) faulty exterior lighting fixtures from wall mounted positions on entrances and exits of main building. Install a Qty of ( 7 ) New RAB SLIM17FAFC fixtures in same locations |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Found while making repairs |  |  |  |  |  |  |  |  |
| CSS #32919 - CMI #19747 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 10.20.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 110.00 | 8 |  |  |  |  |  | $ 880.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,344.00 |
| 1.3 Markup |  |  |  |  |  |  |  | $ 268.80 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,492.80 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  |  |

| Grand Total |  |  |  |  |  |  |  | $ 2,492.80 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |