Repair Toilets in 1st Floor men's room.
Repair leaking seals on all 4 toilets in male restroom on the first floor.
Snake handicap stall toilet will not flush properly.

Proposal to:

- Replace 5 toilet kits

- Replace flush valve for handicap toilet.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Repair Toilets in 1st Floor |  |  |  |  |  |  |  |  |
| CSS #90985 - CMI #20207 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.01.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 16 |  |  |  |  |  | $ 1,360.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 680.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,040.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 250.00 |
| Grand Total |  |  |  |  |  |  |  | $ 2,290.00 |