Repair HVAC in Maintenance Bldg

There are multiple units that have problems. 2 out of the 4 ceiling radiant heaters will not fire; #3 has a fail to ignite error, #2 has an APS 1 failure. Also, the radiant floor heating is not circulating water at the right temperature. Boilers both state "Stand by" even though water temperature is 54 degrees.

Proposal to:

- Repair Tube Heaters

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Repair HVAC in Maintenance Bldg |  |  |  |  |  |  |  |  |
| CSS #91283- CMI #20593 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.13.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 12 |  |  |  |  |  | $ 1,440.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 648.36 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,088.36 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 480.00 |
| Grand Total |  |  |  |  |  |  |  | $ 2,499.00 |