During repairs to wo 18256 additional repairs were found. Tech was unable to remove 2" copper nipple out of the bottom of the ball valve for boiler 1. The nipple is on the incoming side of the valve - therefore, once we remove the valve and nipple, we are going to replace both. (Highly recommended to not put the used valve back in to prevent further repairs.)

Proposal to:

Replacement of Ball Valve for Boiler

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Split Air Unit in room 258 NOC |  |  |  |  |  |  |  |  |
| CSS #901 - CMI #17661 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 06.17.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 115.00 | 8 |  |  |  |  |  | $ 920.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 207.21 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,127.21 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,127.21 |