Emergency call, Saturday 8/15

The freezer is completely down. Unit is not working. Please have tech check GFI at the wall, there was been issues in the past.

Proposal to:

Remove and replace defrost heater with new.

Incurred cost is on Emergency rates.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| The freezer is completely down |  |  |  |  |  |  |  |  |
| CMI # 10229 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 8/17/2020 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 119.00 | 3 |  |  |  |  |  | $ 357.00 |
| 1.2 Heater defrost |  |  |  |  | $ - | $ - | $ - | $ 109.57 |
| 1.3 Misc |  |  |  |  |  |  |  | $45.75 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 512.32 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 178.50 | 4.5 |  |  |  |  |  | $ 803.25 |
| Grand Total |  |  |  |  |  |  |  | $ 1,315.57 |