Small pin hole in men's room need it stop running down the walls.

Proposal to:

• Isolate and repair leak

• Install new 16” X 16” access door, necessary fittings & piping

• Check system operation

• *Building water must be shut-off during repairs*

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| small pin hole in men's room |  |  |  |  |  |  |  |  |
| CSS #31135- CMI #13368 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 6.21.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 163.00 | 5 |  |  |  |  |  | $ 815.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 176.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 991.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ 435.82 |
| Grand Total |  |  |  |  |  |  |  | $ 1,426.82 |