Asset#10795 VAV, single duct, 3 of the heating valves are damaged

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Asset#10795 VAV, single duct |  |  |  |  |  |  |  |  |
| CSS #33654 - CMI #15549 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.09.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 2 |  |  |  |  |  | $ 160.00 |
| 1.2 24-volt proportional (3) total |  |  |  | $ 278.01 | $ 19.46 | $ 297.47 | $ 59.49 | $ 356.96 |
| $92.67 each |  |  |  |  |  |  |  |  |
| 1.3 Shipping |  |  |  |  |  |  |  | $ 30.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 546.96 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 80.00 | 2 |  |  |  |  |  | $ 160.00 |
| Grand Total |  |  |  |  |  |  |  | $ 706.96 |

CMI tech Mike, discovered these while performing the PM.

Proposal to: Remove and replace

https://www.supplyhouse.com/Erie-AP33A000-Proportional-Modulating-Spring-Return-Actuator-24V?gclid=CjwKCAiA78aNBhAlEiwA7B76p1N_2OTs8IV-a_eUlqMks1Xzd7Rzq6AnASC7aNXDp4t8PIgg8Ypm0xoCUfYQAvD_BwE