Fahrenheit Inc.

85 Farless Avenue

Old Bridge, New Jersey 08857

Telephone (732) 673- 9318  E-mail: Celcius60@aol.com

	PROPOSAL
	

	INVOICE
	X

	DIAGNOSTIC
	


Today's Date: 6/10/2021

Customer Name: Joe Bayne



	CSS/INVOICE#
Add Freon Bldg 208
	DATE(S) OF SERVICE


	LOCATION

Bldg 208


	JOB DESCRIPTION
check refrigerant levels on Trane Outdoor chiller located behind building, added 1 tank of R410-A to circuit number 1, 12 pound to circuit #2, 13 pounds to circuit #1 checked temperatures and pressures, system running good

	PARTS
25 pounds R-410 refrigerant @ 50 per pound
	COST
$1,250.00



	LABOR

1 hour 1 mechanic @ 100
	COST

$100.00

	TAX
	

	TOTAL
	$1,350.00


Thank you for your business


