From: Joe Bayne <joe.bayne@cmimgmt.com> 
Sent: Friday, June 12, 2020 3:26 PM
To: Timothy Robbins <trobbins@nemsi.com>
Cc: Vanessa Fernandez <vanessa.fernandez@cmimgmt.com>
Subject: RE: NY128, CSS 20470, Wo 5094
Importance: High

Tim,

The revised proposal was approved. Please proceed with repairs. Please provide an update.

The contracting officer has approved the following additional work, which was requested and prioritized by the 99th as essential work that needs to be completed during the COVID-19 emergency, in order to replace the condensing unit of the existing AC system to provide cooling to the facility.

Site NY128

CSS # 20470

CMI WO # 5094

Asset # NA

Scope:  Perform diagnostics and replace the condensing unit of the existing AC system, which does not cool, in order to make the existing AC system operational and provide cooling to the facility.

Joe Bayne

Project Manager / 99th - Region 2

5285 Shawnee Road Suite #510

Alexandria, VA  22312

703-738-5304

joe.bayne@cmimgmt.com

This message (including any attachments) contains confidential or privileged information intended for a specific individual and purpose, and is protected by law.  If you are not the intended recipient, please notify the sender at (703) 738-5300.  Any disclosure, copying, or distribution of this message, or the taking of any action based on it, is strictly prohibited.