From: Joe Bayne <joe.bayne@cmimgmt.com> 
Sent: Thursday, April 16, 2020 11:19 AM
To: Chris Evans <cevansunited@aol.com>
Cc: Vanessa Fernandez <vanessa.fernandez@cmimgmt.com>
Subject: NY050, CSS 22594, Wo 7330
Importance: High

The contracting officer has approved this work which the 99th consider a priority, but due to the COVID-19 emergency, it will be put ON-HOLD and shall be completed when the emergency is no longer in effect.

Site NY050

CSS # 22594

CMI WO # 7330

Asset # NA

Scope:  Provide the necessary labor and materials to make repairs to single exterior door next to the arms room which is difficult to close. Door does not automatically close and secure (as it should by design) causing a physical security issue for the facility. Also, three exterior double doors need new sweeps and new door weather-stripping at the training building. The repairs will improve heating efficiency and keep rodents from entering the building.

Joe Bayne

Project Manager / 99th - Region 2

5285 Shawnee Road Suite #510

Alexandria, VA  22312

703-738-5304

joe.bayne@cmimgmt.com

This message (including any attachments) contains confidential or privileged information intended for a specific individual and purpose, and is protected by law.  If you are not the intended recipient, please notify the sender at (703) 738-5300.  Any disclosure, copying, or distribution of this message, or the taking of any action based on it, is strictly prohibited.