From: Joe Bayne <joe.bayne@cmimgmt.com> 
Sent: Friday, April 10, 2020 1:07 PM
To: Chris Evans <cevansunited@aol.com>
Cc: Vanessa Fernandez <vanessa.fernandez@cmimgmt.com>
Subject: NY116 CSS 24686 - WO 7922
Importance: High

Good afternoon Chris,

The attached proposal has been approved.

Please proceed with scheduling the repairs. Please provide a scheduled date.

The contracting officer has approved this additional work which has been requested by the 99th as emergency work to replace leaking and problematic cold-water pipes to avoid potential ruptures and needs to be completed during the  COVID-19 Emergency.

Site NY116

CSS # 24686

CMI WO # 7922

Asset # NA

Scope:  Replace the cold-water pipe for 1st floor Men's Room. The pipe has been repaired several times in various

locations and needs replacing to avoid eventual rupture.  Replace water line add isolation valve on the line.

Joe Bayne

Project Manager / 99th - Region 2

5285 Shawnee Road Suite #510

Alexandria, VA  22312

703-738-5304

joe.bayne@cmimgmt.com

This message (including any attachments) contains confidential or privileged information intended for a specific individual and purpose, and is protected by law.  If you are not the intended recipient, please notify the sender at (703) 738-5300.  Any disclosure, copying, or distribution of this message, or the taking of any action based on it, is strictly prohibited.