From: Joe Bayne <joe.bayne@cmimgmt.com> 
Sent: Wednesday, May 6, 2020 8:52 AM
To: Michele (Shelle) Dubois <mdubois@internationalsupportgroup.com>
Cc: Vanessa Fernandez <vanessa.fernandez@cmimgmt.com>
Subject: NY058 - OnA CSS 24997 - WO 8229

The contracting officer has approved the following work order which was requested and prioritized by the 99th as essential work that needs to be completed  during the COVID-19 emergency:

Site NY024

CSS # 24997

CMI WO # 8229

Asset # NA

Scope:  BYPASS THE HVAC BMS SYSTEM WHICH IS INOPERATIONAL IN ORDER TO ACCESS WIRING TERMINALS AND PERFORM THE SEASONAL CHANGEOVER FROM HEATING TO COOLING.   START UP THE AIR CONDITIONING SYSTEM AND DIAGNOSE ANY PROBLEMS TO ENSURE AC  SYSTEM IS  OPERATIONAL AND PROVIDING COOLING.  PHYSICALLY CHECK ALL A/C COMPONENTS TO INCLUDE CONDENSER, COILS, VALVES, AND OTHER COMPONENTS.

Labor Cost                   $2,640.00

Equipment cost is      $475.00

Total Cost                    $3,208.45

Joe Bayne

Project Manager / 99th - Region 2

5285 Shawnee Road Suite #510

Alexandria, VA  22312

703-738-5304

joe.bayne@cmimgmt.com

This message (including any attachments) contains confidential or privileged information intended for a specific individual and purpose, and is protected by law.  If you are not the intended recipient, please notify the sender at (703) 738-5300.  Any disclosure, copying, or distribution of this message, or the taking of any action based on it, is strictly prohibited.