-----Original Message-----

From: Bacani, Paul D CIV USARMY CENAP (USA) <Paul.D.Bacani@usace.army.mil>

Sent: Tuesday, June 16, 2020 7:19 AM

To: Joe Bayne <joe.bayne@cmimgmt.com>

Cc: Bowling, Mark J CW3 USARMY 99 RD (USA) <mark.j.bowling4.mil@mail.mil>; Linn, Ryan G CIV USARMY (USA) <ryan.g.linn.civ@mail.mil>

Subject: RE: 99TH FIS NOTICE TO PROCEED - FAC ID NY023 - OnA CSS TBD - STACKED SERVICE CALL OVER $2500

Joe.  The contracting officer has approved the following additional work,  was requested and prioritized by the 99th as essential work that needs to be completed during the COVID-19 emergency, in order to remove and replace damaged ceiling tiles, due to pipe leaks, and in order to replace 40ft of defective cast iron pipe that was leaking.

Site NY023

CSS # TBD

CMI WO # 8700

Asset # NA

Scope:	Remove 80 24x24 ceiling tiles, with approx. 40 damaged tiles replaced with new ACT, in order to replace 40ft of defective cast iron pipe that has been leaking.

Labor Cost                   $6,600.00

Equipment cost is      $1,762.00

Total Cost                    $8,612.86

VR

Paul D. Bacani, AIA, BOCA, RCS

Project Engineer

Contracting Officer Representative

U.S. ARMY CORPS OF ENGINEERS-PHILADELPHIA DISTRICT Construction Branch Central NJ Resident Engineer Office U.S. Army Corps of Engineers

Tel: (609) 562-2925

Mobile: (609) 508-0037

E-Mail: paul.d.bacani@usace.army.mil