From: Joe Bayne <joe.bayne@cmimgmt.com> 
Sent: Thursday, June 18, 2020 2:26 PM
To: christophers@duffyais.com
Cc: Vanessa Fernandez <vanessa.fernandez@cmimgmt.com>
Subject: RE: Estimate 2946 from Duffys-AIS llc

This has been approved.

Please order part and schedule a return trip.

The contracting officer has approved the following additional work, which has been prioritized by the 99th as essential work during the COVID-19 Emergency, in order to replace the broken temperature control in the kitchen refrigerator which is being utilized.

Site NY116

CSS # 25217

CMI WO #9321

Asset # NA

Scope: Replace the broken temperature control in the kitchen refrigerator in order for the refrigerator to function properly.

Joe Bayne

Project Manager / 99th - Region 2

5285 Shawnee Road Suite #510

Alexandria, VA  22312

703-738-5304

joe.bayne@cmimgmt.com

This message (including any attachments) contains confidential or privileged information intended for a specific individual and purpose, and is protected by law.  If you are not the intended recipient, please notify the sender at (703) 738-5300.  Any disclosure, copying, or distribution of this message, or the taking of any action based on it, is strictly prohibited.