Fahrenheit Inc.

85 Farless Avenue

Old Bridge, New Jersey 08857

Telephone (732) 673- 9318  E-mail: Celcius60@aol.com

	PROPOSAL
	

	INVOICE
	X

	DIAGNOSTIC
	


Today's Date: 6/15/2022
Customer Name: Joe Bayne



	CSS/INVOICE#
35387, WO 16881 
	DATE(S) OF SERVICE


	LOCATION

NY024


	JOB DESCRIPTION
building 208, vestibule heating convector. Had to isolate both supply and return lines going into convector to replace 2 leaking hoses. Installed new hoses, opened isolation valves, checked system. No leaks and it is back online



	PARTS
	COST


	LABOR

	COST
$350.00



	TAX
	

	TOTAL
	$350.00


Thank you for your business


