95 Hudson River Rd.

Waterford, NY 12188

(518) 326-8450 Ph.

10/6/2022

CMI Management

Re: Schenectady Army Reserve CSS # 8946 (Follow up repair quote)

We are please to offer the following for review & approval:

Remove broken actuator & replace with new

Cycle Valve

Remove broken pressure switch & replace with new

Cycle heat pump in heating & cooling

Labor (10MH x $115/Hr.)			$1,150

Materials ($87.47 x 20%)			$104.96

Water Valve Actuator

Hi-Pressure Pressure Switch

Female Spade Connectors

Total			$1254.96

Our proposal excludes the following:

- Overtime hours of any kind.

- Prices quoted are good for 30 days unless otherwise noted

- Parts and/or materials not listed.

- Performance and/or operation of related systems and/or equipment.

- Labor to install equipment, parts, and/or materials of any kind not listed.

- Any and/or all cutting, masonry, painting, patching, carpentry, roofing, asbestos abatement, drop ceiling work labor and/or materials of any kind.

I trust you will find this proposal meets your requirements and standards. It is our company’s goal to meet your needs and provide you with the best possible service. If you should have any questions or require additional information on the above, please do not hesitate to contact us.

Respectfully,

Kellee Farrigan

BPI Mechanical Service, Inc.