10-29-2019

Fort Wadsworth - Repair Security Gaps Under Gates Quote

To:		CMI Management

Attn:		Mr. Joe Bayne (Project Manager)

Address:	5285 Shawnee Road, Suite # 510, Alexandria, VA 22312

Email:		joe.bayne@cmimgmt.com

Location:	Fort Wadsworth, 356 Battery Road, Staten Island, NY 10305

RE:  		NY024, CSS 21272, WO 5613

Scope of Work:

*** Please note this quote is based on paying normal wages ***

ASSESSMENT COST:

- Sent out a project manager to respond to this work order # 5613.  Our project manager arrived and contacted Mr. Vincent Giordano from 99th RSC.   After locating the security issues under these gates. Our Project Manager determined he will not be able to take of the repairs under the $450 limit repair site visit cost.  We have included our assessment cost, along with the cost necessary to do the repairs needed.

Emergency Assessment Cost:	3 hours @ $100 per hour = $300

TOTAL ASSESMENT COST:	$300

10-29-2019

Fort Wadsworth - Repair Security Gaps Under Gates Quote

Scope of Work (Repairs Needed):

** The two cantilever slide gate cannot be lowered any further, because of the size wheels the cantilever slide gate rides on at the bottom of the fence.  We therefore recommend installing a rubber speed bumps under the gates for the security height issue.  There is also a double swing gate by Bldg # 358 that will need additional piping welded to gates (for there is a 10" gap on one side and 8" gap on the other side**

- Mobilization to the site with equipment & material needed to for new rubber speed bumps to be installed

- Supply and install (7) sections of 6'L x 12"W x 2 1/4"H Heavy Duty Rubber Speed Bumps directly under the cantilever slide gates

- This will require drilling and bolting the (7) sections of 6' rubber speed bumps down to the asphalt

- The double swing gate will require, welding additional piping to the bottom of the existing swing gates

- The double swing gates will now also need new piping attached to Posts holding swing gates, in order to stop gates from crashing in to curbing when opened.

- Clean up any grounds disturbed during this project and demobilize equipment.

BREAKDOWN OF COSTS:

| ITEM DESCRIPTION | COST |
| --- | --- |
| Mobilization (material needed: speed bumps, drills, bits, bolts, welding machine, and piping for swing gates) | $225.00 |
| (7) sections of Heavy Duty 6'L Rubber Speed Bumps (to include mounting hardware @ $265.00 each) | $1,855.00 |
| (6) 2"W x 12'L fence pipes (needed for swing gates) @ $48 each | $288.00 |
| Demobilization | $225.00 |
| Labor Needed: 2 men x 2.5 days x 8 hrs per day x $85 per hour: | $3,400.00 |
| TRENCHING & ASPHALT QUOTE TOTAL: | $5,993.00 |

10-29-2019

Fort Wadsworth - Repair Security Gaps Under Gates Quote

QUOTATION VALID FOR:		30 DAYS FROM QUOTATION DATE

ACCEPTANCE OF QUOTATION:

The above price, conditions and specifications are hereby accepted.  You are authorized to do the work as specified.  Payment schedule: Cost of all materials up front and balance upon completion of work.

QUOTE ACCEPTANCE:

Client's Printed Name: _____________________________________

Client's Acceptance Signature: _________________________________		Date: __________________