CERTIFICATION OF WORK

(To be completed by the Contractor and saved in the Contractor’s CMMS)

FACID/Building: _80th Div________	Date of Visit: _9/17/19_________

Contractor Personnel on Site:

- __Jason Howdershelt________________________	2. __________________________

Work Performed: Emergency service call- no cooling on chiller. Re-set chiller and cleared multiple alarms. Chiller running 50%. Circuit 1 has lost communications and will need re-binding of sensors via software.

Preventive Maintenance - Services Completed (Annual, Quarterly, Monthly, equipment identification, etc.)

- WO# ______________11039____________________________________

Service Calls – Service Call Number and Description

- CSS#_______21398________________________________________________________________

- CSS#_______________________________________________________________________

- CSS#_______________________________________________________________________

_______________________________________________________________________

CERTIFICATION OF WORK

To be signed by the Contractor:

Print Name: ____Jason Howdershelt___________________ Date:  ____________9/17/19

Signed: _____________________________________

To be signed by Facility Manager:

I certify that the above named individuals representing the Contractor arrived on site and to the best of my knowledge, completed the stated work listed:

Print Name/Rank: __________________________________  Date:__________

Signed: _____________________________________

E-Mail: ____________________________________________________