Fahrenheit Incorporated

85 Farless ave

Old Bridge, N.J. 08857

Telephone (732) 673- 9318

E-mail: Celcius60@aol.com

| To: |  |
| --- | --- |
| Joe Bayne fort wadsworth bldg 208 |  |

| Date |  |  |  |
| --- | --- | --- | --- |
| 06/19/22 |  | Building 208 HW baseboard leak |  |
| Job Description | Rate Amount |  |  |
| Found baseboard leak on 2nd floor leaking down through ceiling. Work consists of draining down baseboard loop cutting out 3/4” copper line and replace with new line will install purge valve and isolation valve to eliminate air that entered system | 10ft- 3/4” copper L – tubing---6--3/4” copper 90deg elbows,—4-3/4”copper slip couplings, --2-3/4” sharkbite couplings 1-3/4”ball valve, 1-3/4” cxfem tee---1-3/4” boiler drain ---actylene solder –Total cost for materials---$285.60. Labor---1-mechanic 1-day -at $125 per hr plus diagnosis fee of $325.00 to look at Fiasko. |  |  |
|  | Total Cost--$1,610.60 |  |  |

Thank you for your business.