| PROPOSAL |  |
| --- | --- |
| INVOICE | X |
| DIAGNOSTIC |  |

Today's Date:

Customer Name: Joe Bayne

| CSS/INVOICE# 21922-03 | DATE(S) OF SERVICE | LOCATION Fort Wadsworth NY024 |
| --- | --- | --- |

| JOB DESCRIPTION Triad boiler maintenance, this boiler has no had maintenance performed since the installation date. Completely isolate supply and return lines feeding boiler along with cold water makeup valve. Bring down entire boiler and remove pro type low water cut off and replace with new. Completely disassemble entire gas burner to access combustion chamber, clean combustion chamber, reassemble all components and put back into proper operation. If any other parts are needed after performing maintenance on this boiler, there will be an extra charge. |  |
| --- | --- |
| PARTS 902057004 Model 751P-MT-120 “Guard Dog” LWCO with manual reset switch 25' roll of Inswood ceramic blanket for burner mount gasket Shipping Charges ignitor and ignition cables TOTAL PARTS | COST $$324.37 $65.75 $40.00 $50.00 $480.12 |
| LABOR 1 mechanic @ 125.00 an hour and 1 helper @ 62.50 an hour for a total of 14.6 hours | COST $2,750.00 |
| TAX |  |
| TOTAL | $3,230.12 |