PROPOSAL	X
INVOICE
DIAGNOSTIC	X

Today's Date: 4/28/2020

Customer Name: Joe Bayne

CSS/INVOICE# / 24878	DATE(S) OF SERVICE / 4/28/2020	LOCATION / Fort Wadsworth NY024

JOB DESCRIPTION / Found leaky circulator pump off of Triad boiler located in building 208 mechanical room. They pump controls heat from #1 triad boiler to feed heating loop for entire building. Work consists of draining down triad boiler. Removing circulator pump and installing new gaskets, rewiring pump, purge all air out of system to put into full operation
PARTS / Model # B&G direct drive circulator pump PL-75 / Gaskets and bolts / TOTAL PARTS	COST / $1089.45 / $35.00
Diagnostic Fee (includes travel to NY)	$450.00
LABOR TO INSTALL PUMP / 1 mechanic @ 125.00 an hour 3 ½ hours (includes travel to pick up the part)	COST / $450.00
TAX
TOTAL	$2,024.45