| PROPOSAL |  |
| --- | --- |
| INVOICE | X |
| DIAGNOSTIC |  |

Today's Date: 2/8/2021

Customer Name: Joe Bayne

| CSS/INVOICE# 28128 | DATE(S) OF SERVICE 4/28/2020 | LOCATION Fort Wadsworth NY024 |
| --- | --- | --- |

| JOB DESCRIPTION disassembled entire pump, separated motor from bearing assembly, replaced broken coupling with new one. Lubricated bearing assembly after work was done. |  |
| --- | --- |
| PARTS 1 B&G Coupler assembly B&G lubricant for bearing assembly | COST $125.00 |
| LABOR One day one mechanic Tolls and travel time, expediting parts and Diagnostic fee | COST $600.00 $250.00 |
| TOTAL | $975.00 |