Fahrenheit Inc.

85 Farless Avenue

Old Bridge, New Jersey 08857

Telephone (732) 673- 9318  E-mail: Celcius60@aol.com

	PROPOSAL
	

	INVOICE
	X

	DIAGNOSTIC
	


Today's Date: 8/20/2021

Customer Name: Joe Bayne



	CSS/INVOICE#
CSS 29666 
	DATE(S) OF SERVICE


	LOCATION

Bldg 208


	JOB DESCRIPTION
removed electrode assembly and spark ignitor, completely cleaned electrode and flame sensor and re-installed and reset computer module

	PARTS

	COST


	LABOR
1 mechanic diagnose and repair


	COST
$450.00


	TAX
	

	TOTAL
	$450.00


Thank you for your business


