Fahrenheit Inc.

85 Farless Avenue

Old Bridge, New Jersey 08857

Telephone (732) 673- 9318  E-mail: Celcius60@aol.com

	PROPOSAL
	

	INVOICE
	X

	DIAGNOSTIC
	


Today's Date: 7/1/2021

Customer Name: Joe Bayne



	CSS/INVOICE#
 CSS 29883 
	DATE(S) OF SERVICE


	LOCATION

Bldg 208


	JOB DESCRIPTION
received emergency service call for basin sinks located on 2nd floor that were not draining, used plunger and air pressure to push stoppage out. Cleared drains and checked operation and everything is now working fine.

	PARTS

	COST
$

$

	LABOR

	COST
$


	TAX
	

	TOTAL
	$350.00


Thank you for your business


