Fahrenheit Inc.

85 Farless Avenue

Old Bridge, New Jersey 08857

Telephone (732) 673- 9318  E-mail: Celcius60@aol.com

	PROPOSAL
	

	INVOICE
	X

	DIAGNOSTIC
	


Today's Date: 6/27/2022

Customer Name: Joe Bayne



	CSS/INVOICE#
 CSS 30961
	DATE(S) OF SERVICE


	LOCATION


	JOB DESCRIPTION
 diagnose and repair Glycol leak.  The leak is in between the roof top mechanical room and the assembly hall ceiling. Repaired the glycol leak, insulated inside the room and fixed ceiling tiles. The pipe was sweating due to condensate which was also fixed.

	PARTS

	COST
$

$

	LABOR

	COST
$


	TAX
	

	TOTAL
	$1,350.00


Thank you for your business


