Fahrenheit Inc.

85 Farless Avenue

Old Bridge, New Jersey 08857

Telephone (732) 673- 9318  E-mail: Celcius60@aol.com

	PROPOSAL
	X

	INVOICE
	

	DIAGNOSTIC
	


Today's Date: 7/1/2021

Customer Name: Joe Bayne



	CSS/INVOICE#
CSS31394
	DATE(S) OF SERVICE


	LOCATION

Bldg 356


	JOB DESCRIPTION
glycol leak in upper mezzanine feeding air handlers. Repair copper lines rotted through wall supplying chiller water to mezzanine air handlers. Remove all glycol from system and drain down below damaged lines. Cut 2 ½ inch L type copper tubes. Need platform lift to safely replace these lines. Lines are located in assembly hall approx 25 feet in air. 

	PARTS
2 1/2 inch copper by copper ball valves

4 2/ ½ inch copper by copper elbows

6 2 ½ inch copper by copper cuplings

2 2 ½ inch copper by copper st elbows

1 length of copper tubing

1 roll or 95 solder

1 roll of emery cloth

1 2 ½ by ¾ ITST

1 ¾ ball valve

1 ¾ hose adapter


	COST
$1,850.00

	LABOR
1 mechanic and 1 helper 2 days

pick up and delivery of lift 

lift rental $275.00 per day
	COST

$2,400.00

$350.00

$550.00

	TAX
	

	TOTAL
	$5.150.00


Thank you for your business


