Fahrenheit Inc.

85 Farless Avenue

Old Bridge, New Jersey 08857

Telephone (732) 673- 9318  E-mail: Celcius60@aol.com

	PROPOSAL
	

	INVOICE
	X

	DIAGNOSTIC
	


Today's Date: 7/1/2021

Customer Name: Joe Bayne



	CSS/INVOICE#
CSS31395
	DATE(S) OF SERVICE


	LOCATION

Bldg 356


	JOB DESCRIPTION
after repairing lines through wall located in bldg 356 assembly hall building, system needed glycol into system. Time was spent getting fuses from electrical supply house along with time spent to fill up all supply and return lines feeding main air handlers located in upstairs roof mezzanine roof mechanical room. Also insulated lines located in ceiling which was not included in leak repairs on chilled water lines.  

	PARTS
Glycol – customer supplied glycol

Insulation 5 lengths of 2 ½ inch x 1 ½ fiberglass insulation, 3 lengths of 3 inch fiberglass insulation 

1 roll of sealing tape


	COST
$450.00

$25.00

	LABOR
1 mechanic and 1 helper 2 days


	COST
$2,400.00


	TAX
	

	TOTAL
	$2,875.00


Thank you for your business


