CSS 92877

Region 4A

Zone 2

FAC ID: NY052

POC: (AFOS) John Granata 585-944-9099 (RFOS) Scott Kawski 814-392-6879

Priority- Urgent

Description of Repair:  Boiler will not operate.  Troubleshoot and repair boiler #1.  Lockout Fan Speed is the error message shown on the boiler.

-Type of Funding: (COR input)

-Paying Activity Code: (COR input)

-Date & Time: 3/30/2023 1330 hours

-Associated Asset ID: NY052