CSS 94085

Region 4A

Zone 1

FAC ID: PA118

POC: (AFOS) Cindy Croyle 412-477-7816  (RFOS) Scott Kawski 814-392-6879

Priority- Routine

Description of Repair:  Pictures attached - AMSA - right side – Repair rim on vent needs to be installed properly, vent screen on fire equipment needs to be install (old came off).  AMSA right side - tubing needs to be caulked, and trim on oil room needs to be reattached.  Warehouse - back wall - screening on vent needs to be replaced.

-Type of Funding: (COR input)

-Paying Activity Code: (COR input)

-Date & Time: 6/27/2023 1100 hours

-Associated Asset ID: PA118