CSS 94360

Region 4A

Zone 1

FAC ID: PA209

POC: (AFOS) Cindy Croyle 412-477-7816 (RFOS) Scott Kawski 814-392-6879

Priority- Urgent

Description of Repair: The Packaged Terminal Heat Pump (PTHP) located in room 106 in the maintenance building is not working.  The unit will not turn on.  Breakers were checked and thermostat works but there is no indicating light showing on the unit.  Repair the PTHP unit to operate.  Pictures attached.  The unit is labeled as a mini split and this is not a mini split unit.

-Type of Funding: (COR input)

-Paying Activity Code: (COR input)

-Date & Time: 7/14/2023 1400 hours

-Associated Asset ID: PA209