CSS 94456

Region 4A

Zone 1

FAC ID: PA118

POC: (AFOS) Cindy Croyle 412-477-7816 (RFOS) Scott Kawski 814-392-6879

Priority- Urgent

Description of Repair: Repair the west wall horn strobe located at PA118.  See attached pictures

-Type of Funding: (COR input)

-Paying Activity Code: (COR input)

-Date & Time: 7/24/2023 0830 hours

-Associated Asset ID: PA118