CSS 95393

Region 4A

Zone 1

FAC ID: PA209

POC: (AFOS) Cindy Croyle 412-477-7816 (RFOS) Scott Kawski 814-392-6879

Priority- Routine

Description of Repair:  Replace missing outlet covers - 1 on OMS front left side and 1 on Training Center outside mechanical room.  Metal ones would be better as the plastic breaks off.  Pictures attached

-Type of Funding: (COR input)

-Paying Activity Code: (COR input)

-Date & Time: 10/27/2023 0900 hours

-Associated Asset ID: PA209

Suggested/Reccomended Vendor: