CSS 96422

Region 4A

Zone

FAC ID: PA027

POC: (AFOS) Cindy Croyle 412-477-7816  (RFOS) Scott Kawski 814-392-6879

Priority- Urgent

Description of Repair: Repair emergency battery back light fixtures.  Emergency ceiling lights need to have the back-up batteries replaced as they were not working during a recent power outage.  Diagrams are attached as to where the lights are located.

-Type of Funding: (COR input)

-Paying Activity Code: (COR input)

-Date & Time: 1/16/2024 1000 hours

-Associated Asset ID: PA027