## Sheet1
Costs based on RSMeans data | [15 empty] | COST ESTIMATE REPORT
DATE: 04/18/2023
Estimate Name: | CSS 92410 - WO 12528 - WV020 Replace Bearing Assemblyly
ESTIMATE INFORMATION
Client Name: | 99 |  |  |  | Type: | Unit |  | Notes:
Estimate Address: | 7605 US Route 19 North, Jane Lew, WV 26378 |  |  |  | Measurement System: | US Standard
COST DATA
Estimate Summary: | [8 empty] | Catalog: | Facilities and Commercial Renovation
| Material | Labor | Equipment | Total* |  |  |  |  | Format: | MasterFormat 2018
Base Total | 2558.87 | 499.29 | 0 | 3058.16 |  |  |  |  | Release: | Year 2023 Quarter 1
Total O&P | 2816.97 | 780.02 | 0 | 3596.99 |  |  |  |  | Labor Type: | Repair & Remodeling
*"Total" column values include the cost of Exception lines that may not be included in the Material, Labor and Equipment totals. | [8 empty] | City Cost Index: | WEST VIRGINIA / CLARKSBURG (263-264)
LEGEND
Line Source: | U - User defined line item
A - Adjustment/Modifier
E - Exception lines
ESTIMATE
Quantity | LineNumber | Line Source | SubContracted Ind. | Description | Crew | Daily Output | Labor Hours | Unit | Material | Labor | Equipment | Total | Ext. Mat. | Ext. Labor | Ext. Equip. | Ext. Total | Mat. O&P | Labor O&P | Equip. O&P | Total O&P | Ext. Mat. O&P | Ext. Labor O&P | Ext. Equip. O&P | Ext. Total O&P | Labor Type | Notes
0.15 | 013113200160 |  |  | Field personnel, general purpose laborer, average | 1 Clab | 0.2 | 40 | Week | 0 | 1708.1 | 0 | 1708.1 | 0 | 256.22 | 0 | 256.22 | 0 | 2697 | 0 | 2697 | 0 | 404.55 | 0 | 404.55 | RR |  | 4
1 | 013114200040 |  |  | Single circuit breaker lock out device | 1 Elec | 220 | 0.036 | Ea. | 36.65 | 2.2 | 0 | 38.85 | 36.65 | 2.2 | 0 | 38.85 | 40.21 | 3.38 | 0 | 43.59 | 40.21 | 3.38 | 0 | 43.59 | RR |  | 5
1 | 013114200180 |  |  | Lock out sign | 1 Skwk | 330 | 0.024 | Ea. | 19.14 | 1.33 | 0 | 20.47 | 19.14 | 1.33 | 0 | 20.47 | 20.87 | 2.11 | 0 | 22.98 | 20.87 | 2.11 | 0 | 22.98 | RR |  | 6
1 | 013114200190 |  |  | Lock out tag | 1 Skwk | 440 | 0.018 | Ea. | 5.8 | 1 | 0 | 6.8 | 5.8 | 1 | 0 | 6.8 | 6.36 | 1.58 | 0 | 7.94 | 6.36 | 1.58 | 0 | 7.94 | RR |  | 7
1 | 232123132380 |  |  | Pump, circulating, cast iron, heated or chilled water application, 1 H.P., 3" size | Q1 | 4 | 4 | Ea. | 2497.28 | 238.54 | 0 | 2735.82 | 2497.28 | 238.54 | 0 | 2735.82 | 2749.53 | 368.4 | 0 | 3117.93 | 2749.53 | 368.4 | 0 | 3117.93 | RR |  | 3
Grand Total | [11 empty] | 4510.04 | 2558.87 | 499.29 | 0 | 3058.16 |  |  |  | 5889.44 | 2816.97 | 780.02 | 0 | 3596.99