## Sheet1
Costs based on RSMeans data | [15 empty] | COST ESTIMATE REPORT
DATE: 04/25/2023
Estimate Name: | CSS 92818 - WO 12531 - PA062 Replace Chemical Pot Feeder
ESTIMATE INFORMATION
Client Name: | 99th |  |  |  | Type: | Unit |  | Notes:
Estimate Address: | 1151 Morgan Street Extension, Meadville, PA 16335 |  |  |  | Measurement System: | US Standard
COST DATA
Estimate Summary: | [8 empty] | Catalog: | Facilities and Commercial Renovation
| Material | Labor | Equipment | Total* |  |  |  |  | Format: | MasterFormat 2018
Base Total | 353.36 | 629.4 | 7.73 | 990.49 |  |  |  |  | Release: | Year 2023 Quarter 1
Total O&P | 387.84 | 1014.04 | 8.52 | 1410.4 |  |  |  |  | Labor Type: | Repair & Remodeling
*"Total" column values include the cost of Exception lines that may not be included in the Material, Labor and Equipment totals. | [8 empty] | City Cost Index: | PENNSYLVANIA / OIL CITY (163)
LEGEND
Line Source: | U - User defined line item
A - Adjustment/Modifier
E - Exception lines
ESTIMATE
Quantity | LineNumber | Line Source | SubContracted Ind. | Description | Crew | Daily Output | Labor Hours | Unit | Material | Labor | Equipment | Total | Ext. Mat. | Ext. Labor | Ext. Equip. | Ext. Total | Mat. O&P | Labor O&P | Equip. O&P | Total O&P | Ext. Mat. O&P | Ext. Labor O&P | Ext. Equip. O&P | Ext. Total O&P | Labor Type | Notes
0.1 | 013113200160 |  |  | Field personnel, general purpose laborer, average | 1 Clab | 0.2 | 40 | Week | 0 | 1698.6 | 0 | 1698.6 | 0 | 169.86 | 0 | 169.86 | 0 | 2682 | 0 | 2682 | 0 | 268.2 | 0 | 268.2 | RR | Labor to remove existing chemical by-pass feeder | 1
1 | 017413200100 |  |  | Cleaning up, cleanup of floor area, final by GC at end of job | A5 | 11.5 | 1.565 | M.S.F. | 4.55 | 67.05 | 7.73 | 79.33 | 4.55 | 67.05 | 7.73 | 79.33 | 5 | 106.39 | 8.52 | 119.91 | 5 | 106.39 | 8.52 | 119.91 | RR |  | 2
1 | 024119200100 | E |  | Selective demolition, dump charges, typical urban city, building construction materials, includes tipping fees only |  | 0 | 0 | Ton | 74 | 0 | 0 | 74 | 74 | 0 | 0 | 74 | 81 | 0 | 0 | 81 | 81 | 0 | 0 | 81 | RR |  | 3
1 | 235324100200 |  |  | Shot chemical feeder, by pass, in line mount, 300 PSIG, 1.7 gallon | 2 Stpi | 1.8 | 8.889 | Ea. | 274.81 | 392.49 | 0 | 667.3 | 274.81 | 392.49 | 0 | 667.3 | 301.84 | 639.45 | 0 | 941.29 | 301.84 | 639.45 | 0 | 941.29 | OPN | Model - CW-EC-2TC (2-gal feeder w legs, rated 300 psi) | 0
Grand Total | [11 empty] | 2519.23 | 353.36 | 629.4 | 7.73 | 990.49 |  |  |  | 3824.2 | 387.84 | 1014.04 | 8.52 | 1410.4