## Sheet1
Costs based on RSMeans data | [15 empty] | COST ESTIMATE REPORT
DATE: 04/25/2023
Estimate Name: | CSS 93066 - WO 12577 - PA063 Replace CO Sensor
ESTIMATE INFORMATION
Client Name: | 99th |  |  |  | Type: | Unit |  | Notes:
Estimate Address: | 410 Miller Avenue, New Castle, PA, 16101-1451 |  |  |  | Measurement System: | US Standard
COST DATA
Estimate Summary: | [8 empty] | Catalog: | Facilities and Commercial Renovation
| Material | Labor | Equipment | Total* |  |  |  |  | Format: | MasterFormat 2018
Base Total | 61.66 | 351.9 | 7.73 | 421.29 |  |  |  |  | Release: | Year 2023 Quarter 1
Total O&P | 871 | 556.11 | 8.52 | 1435.63 |  |  |  |  | Labor Type: | Repair & Remodeling
*"Total" column values include the cost of Exception lines that may not be included in the Material, Labor and Equipment totals. | [8 empty] | City Cost Index: | PENNSYLVANIA / NEW CASTLE (161)
LEGEND
Line Source: | U - User defined line item
A - Adjustment/Modifier
E - Exception lines
ESTIMATE
Quantity | LineNumber | Line Source | SubContracted Ind. | Description | Crew | Daily Output | Labor Hours | Unit | Material | Labor | Equipment | Total | Ext. Mat. | Ext. Labor | Ext. Equip. | Ext. Total | Mat. O&P | Labor O&P | Equip. O&P | Total O&P | Ext. Mat. O&P | Ext. Labor O&P | Ext. Equip. O&P | Ext. Total O&P | Labor Type | Notes
0.15 | 013113200160 |  |  | Field personnel, general purpose laborer, average | 1 Clab | 0.2 | 40 | Week | 0 | 1831.6 | 0 | 1831.6 | 0 | 274.74 | 0 | 274.74 | 0 | 2892 | 0 | 2892 | 0 | 433.8 | 0 | 433.8 | RR | Labor to remove bad detector and install new detector. Site cleanup. | 1
1 | 013114200040 |  |  | Single circuit breaker lock out device | 1 Elec | 220 | 0.036 | Ea. | 33.98 | 2.36 | 0 | 36.34 | 33.98 | 2.36 | 0 | 36.34 | 37.29 | 3.62 | 0 | 40.91 | 37.29 | 3.62 | 0 | 40.91 | RR |  | 2
1 | 013114200180 |  |  | Lock out sign | 1 Skwk | 330 | 0.024 | Ea. | 17.75 | 1.43 | 0 | 19.18 | 17.75 | 1.43 | 0 | 19.18 | 19.35 | 2.27 | 0 | 21.62 | 19.35 | 2.27 | 0 | 21.62 | RR |  | 3
1 | 013114200190 |  |  | Lock out tag | 1 Skwk | 440 | 0.018 | Ea. | 5.38 | 1.07 | 0 | 6.45 | 5.38 | 1.07 | 0 | 6.45 | 5.9 | 1.7 | 0 | 7.6 | 5.9 | 1.7 | 0 | 7.6 | RR |  | 4
1 | 017413200100 |  |  | Cleaning up, cleanup of floor area, final by GC at end of job | A5 | 11.5 | 1.565 | M.S.F. | 4.55 | 72.3 | 7.73 | 84.58 | 4.55 | 72.3 | 7.73 | 84.58 | 5 | 114.72 | 8.52 | 128.24 | 5 | 114.72 | 8.52 | 128.24 | RR |  | 5
1 | 284611218710 | U |  | Gas Detector |  | 0 | 0 | Ea. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 803.46 | 0 | 0 | 803.46 | 803.46 | 0 | 0 | 803.46 | USER | Part # 36CF89, Model - GD-6 (Audible/Visual, Gas Detector, Controller, Transducer) | 0
Grand Total | [11 empty] | 1978.15 | 61.66 | 351.9 | 7.73 | 421.29 |  |  |  | 3893.83 | 871 | 556.11 | 8.52 | 1435.63