## Sheet1
Costs based on RSMeans data | [15 empty] | COST ESTIMATE REPORT
DATE: 04/25/2023
Estimate Name: | CSS 93111 - WO 12585 - NY030 Repair Boiler-Ignition Failure Alarm
ESTIMATE INFORMATION
Client Name: | 99th |  |  |  | Type: | Unit |  | Notes:
Estimate Address: | 3126 Upper Lake Road, Horseheads, NY 14845-3103 |  |  |  | Measurement System: | US Standard
COST DATA
Estimate Summary: | [8 empty] | Catalog: | Facilities and Commercial Renovation
| Material | Labor | Equipment | Total* |  |  |  |  | Format: | MasterFormat 2018
Base Total | 56.22 | 957.75 | 6.93 | 1020.9 |  |  |  |  | Release: | Year 2022 Quarter 4
Total O&P | 5167.82 | 1522.33 | 7.58 | 6697.73 |  |  |  |  | Labor Type: | Repair & Remodeling
*"Total" column values include the cost of Exception lines that may not be included in the Material, Labor and Equipment totals. | [8 empty] | City Cost Index: | NEW YORK / ELMIRA (148-149)
LEGEND
Line Source: | U - User defined line item
A - Adjustment/Modifier
E - Exception lines
ESTIMATE
Quantity | LineNumber | Line Source | SubContracted Ind. | Description | Crew | Daily Output | Labor Hours | Unit | Material | Labor | Equipment | Total | Ext. Mat. | Ext. Labor | Ext. Equip. | Ext. Total | Mat. O&P | Labor O&P | Equip. O&P | Total O&P | Ext. Mat. O&P | Ext. Labor O&P | Ext. Equip. O&P | Ext. Total O&P | Labor Type | Notes
0.5 | 013113200160 |  |  | Field personnel, general purpose laborer, average | 1 Clab | 0.2 | 40 | Week | 0 | 1766.6 | 0 | 1766.6 | 0 | 883.3 | 0 | 883.3 | 0 | 2807.2 | 0 | 2807.2 | 0 | 1403.6 | 0 | 1403.6 | RR | Labor to remove failed gas valve, install new valve, check boiler and piping for gas leaks, perform startup of boiler, and adjust as required. | 17
1 | 013114200040 |  |  | Single circuit breaker lock out device | 1 Elec | 220 | 0.036 | Ea. | 25.22 | 2.33 | 0 | 27.55 | 25.22 | 2.33 | 0 | 27.55 | 27.33 | 3.58 | 0 | 30.91 | 27.33 | 3.58 | 0 | 30.91 | RR |  | 18
1 | 013114200180 |  |  | Lock out sign | 1 Skwk | 330 | 0.024 | Ea. | 21.55 | 1.38 | 0 | 22.93 | 21.55 | 1.38 | 0 | 22.93 | 24.17 | 2.19 | 0 | 26.36 | 24.17 | 2.19 | 0 | 26.36 | RR |  | 19
1 | 013114200190 |  |  | Lock out tag | 1 Skwk | 440 | 0.018 | Ea. | 5.78 | 1.04 | 0 | 6.82 | 5.78 | 1.04 | 0 | 6.82 | 6.36 | 1.64 | 0 | 8 | 6.36 | 1.64 | 0 | 8 | RR |  | 20
1 | 017413200100 |  |  | Cleaning up, cleanup of floor area, final by GC at end of job | A5 | 11.5 | 1.565 | M.S.F. | 3.67 | 69.7 | 6.93 | 80.3 | 3.67 | 69.7 | 6.93 | 80.3 | 4.04 | 111.32 | 7.58 | 122.94 | 4.04 | 111.32 | 7.58 | 122.94 | RR |  | 21
1 | 235223203240 | U |  | Boiler, gas fired, natural or propane, cast iron, hot water | Q7 | 0 | 0 | Ea. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5105.92 | 0 | 0 | 5105.92 | 5105.92 | 0 | 0 | 5105.92 | USER | Cost of new gas valve | 16
Grand Total | [11 empty] | 1904.2 | 56.22 | 957.75 | 6.93 | 1020.9 |  |  |  | 8101.33 | 5167.82 | 1522.33 | 7.58 | 6697.73