## Sheet1
Costs based on RSMeans data | [15 empty] | COST ESTIMATE REPORT
DATE: 05/26/2023
Estimate Name: | CSS 93477 - WO 12996 - WV020 Repair HVAC Controls
ESTIMATE INFORMATION
Client Name: | 99 |  |  |  | Type: | Unit |  | Notes:
Estimate Address: | 7605 US Route 19 North, Jane Lew, WV 26378 |  |  |  | Measurement System: | US Standard
COST DATA
Estimate Summary: | [8 empty] | Catalog: | Facilities and Commercial Renovation
| Material | Labor | Equipment | Total* |  |  |  |  | Format: | MasterFormat 2018
Base Total | 0 | 1035 | 0 | 1035 |  |  |  |  | Release: | Year 2023 Quarter 2
Total O&P | 0 | 1242 | 0 | 1242 |  |  |  |  | Labor Type: | Repair & Remodeling
*"Total" column values include the cost of Exception lines that may not be included in the Material, Labor and Equipment totals. | [8 empty] | City Cost Index: | WEST VIRGINIA / CLARKSBURG (263-264)
LEGEND
Line Source: | U - User defined line item
A - Adjustment/Modifier
E - Exception lines
ESTIMATE
Quantity | LineNumber | Line Source | SubContracted Ind. | Description | Crew | Daily Output | Labor Hours | Unit | Material | Labor | Equipment | Total | Ext. Mat. | Ext. Labor | Ext. Equip. | Ext. Total | Mat. O&P | Labor O&P | Equip. O&P | Total O&P | Ext. Mat. O&P | Ext. Labor O&P | Ext. Equip. O&P | Ext. Total O&P | Labor Type | Notes
1 | 230923102110 | U |  | Control components/DDC system, subcontractor's quote incl. material & labor, status (alarms), digital inputs (average 50' run in 1/2" EMT), freeze |  | 0 | 0 | Ea. | 0 | 1035 | 0 | 1035 | 0 | 1035 | 0 | 1035 | 0 | 1242 | 0 | 1242 | 0 | 1242 | 0 | 1242 | USER | Labor to troubleshoot AHU-1. Unit is saying it's in "freeze stat" but it's not. | 0
Grand Total | [11 empty] | 1035 | 0 | 1035 | 0 | 1035 |  |  |  | 1242 | 0 | 1242 | 0 | 1242