Repair water lines for toilet and sink in unisex latrine. Water lines froze and burst over the winter requiring an emergency

work order to stop the water lines from leaking. Current CSS request requires installation of new water lines (PEX recommended due to temp control issues in this latrine) from new cut-off valve to toilet and sink

Mini Split system in Room 112, condensate pump failed.

Provide & install (1) Blue Diamond Microblue condensate pump.

Start up

Warranty

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| PA013 Butler |  |  |  |  |  |  |  |  |
| Repair mini-split in Rm 112. |  |  |  |  |  |  |  |  |
| CSS #15548 - CMI # 5815 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.04.18 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 3.5 |  |  |  |  |  | $ 343.00 |
| 1.2 Condensate Pump |  |  |  |  | $ - | $ - | $ - | $ 178.48 |
| 1.3 Shipping |  |  |  |  |  |  |  | $ 24.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 545.48 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 98.00 | 3 |  |  |  |  |  | $ 294.00 |
| Grand Total |  |  |  |  |  |  |  | $ 839.48 |