Boiler #3 - The boiler shell is leaking. Repair the leak in accordance with manufacturer's recommendations, National Boiler Inspection Code and ASME Section IV.

Proposal is to: Isolate & drain boiler only, Replace auto air vent, Replace pressure gauge, fill & vent boiler only & Replace Igniter

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| PA020 Dubois |  |  |  |  |  |  |  |  |
| Boiler #3 - The boiler shell is leaking |  |  |  |  |  |  |  |  |
| CSS #15866 - CMI # 5973 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.10.18 |  |  |  |  |  |  |  |  |
| Asset #6614 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 3 |  |  |  |  |  | $ 294.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 238.49 |
| 1.3 Shipping |  |  |  |  |  |  |  | $ 24.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 556.49 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 98.00 | 1 |  |  |  |  |  | $ 98.00 |
| Grand Total |  |  |  |  |  |  |  | $ 654.49 |