Boiler #4 - The wiring is not in accordance with the National Electric code. The wiring harness insulation is burned and deteriorated. Bare wires are exposed. Repair the wiring harness in accordance with the National Electrical Code.

Proposal to remove & replace worn igniter.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| PA020 Dubois |  |  |  |  |  |  |  |  |
| Boiler #4 - The wiring is not in accordance with the National Electric code |  |  |  |  |  |  |  |  |
| CSS #15935 - CMI # 5974 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.10.18 |  |  |  |  |  |  |  |  |
| Asset #6583 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 1 |  |  |  |  |  | $ 98.00 |
| 1.2 Igniter |  |  |  |  | $ - | $ - | $ - | $ 149.74 |
| 1.3 Shipping |  |  |  |  |  |  |  | $ 24.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 271.74 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 98.00 | 1.5 |  |  |  |  |  | $ 147.00 |
| Grand Total |  |  |  |  |  |  |  | $ 418.74 |