| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| PA020 Dubois |  |  |  |  |  |  |  |  |
| Boiler #5 The boiler shell is leaking. |  |  |  |  |  |  |  |  |
| CSS #15936 - CMI # 5975 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.10.18 |  |  |  |  |  |  |  |  |
| Asset #6583 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 3 |  |  |  |  |  | $ 294.00 |
| 1.2 Igniter kit, hose, pressure gauge |  |  |  |  | $ - | $ - | $ - | $ 227.12 |
| 1.3 Shipping |  |  |  |  |  |  |  | $ 24.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 545.12 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 98.00 | 3 |  |  |  |  |  | $ 294.00 |
| Grand Total |  |  |  |  |  |  |  | $ 839.12 |

Boiler #5 - The boiler shell is leaking. Repair the leak in accordance with manufacturer's recommendations, National Boiler Inspection Code and ASME Section IV.

Proposal is to remove and replace the Igniter, Pressure Gauge & 3’ Drain hose.