Found during PM Program.

Asset 3496 – Bathroom Exhaust Fan in 208 has been disconnected and is not working.

Proposal to provide and install new motor and capacitor & galvanized ductwork.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| PA042 Greensburg |  |  |  |  |  |  |  |  |
| Bathroom Exhaust Fan not working |  |  |  |  |  |  |  |  |
| CSS #14522 - CMI # 4920 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.11.18 |  |  |  |  |  |  |  |  |
| Asset # 3496 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 4 |  |  |  |  |  | $ 392.00 |
| 1.2 Motor & Capacitor |  |  |  |  | $ - | $ - | $ - | $ 143.36 |
| 1.3 Galvanized Ductwork |  |  |  |  |  |  |  | $256.80 |
| 1.4 Shipping |  |  |  |  |  |  |  | $ 24.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 816.16 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 98.00 | 1.5 |  |  |  |  |  | $ 147.00 |
| Grand Total |  |  |  |  |  |  |  | $ 963.16 |