Asset# 4529. Unit heater is inoperable due to locked up fan motor. WO# 6721. Asset# 4274. Inop t-stat in OMS building. Request is for vendor to troubleshoot and repair issues.

Proposal to provide & perform the following:

- Disassemble unit heater for asset 4274

- Troubleshoot unit for electric short

- Quote repair

- Start up

- Warranty

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| PA042 Greensburg |  |  |  |  |  |  |  |  |
| Asset# 4529. Unit heater is inoperable |  |  |  |  |  |  |  |  |
| Asset# 4274. Inop t-stat in OMS building |  |  |  |  |  |  |  |  |
| CSS #17218 - CMI # 7104 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 2.28.19 |  |  |  |  |  |  |  |  |
| P3 Routine |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 4.5 |  |  |  |  |  | $ 441.00 |
| 1.2 |  |  |  |  | $ - | $ - | $ - | $ - |
| 1.3 |  |  |  |  |  |  |  |  |
| 1.4 |  |  |  |  |  |  |  |  |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 441.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 98.00 | 4.5 |  |  |  |  |  | $ 441.00 |
| 2.2 |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 882.00 |